## VST ZERO Upgrade Survey
VST ZERO Upgrade Site Survey Ver 2.0
| Site Info: |  | Contractor:
Name |  | Name
Address |  | Address
City, ZIP |  | City, State, Zip
Phone# |  | Phone#
Tank Monitor on site:
| Veeder-Root TLS-350 (ECPU2) | OR | INCON VRM
| DIM Init String Programmed? |  | Record TLS-350 Dim String Here
DIM String:
FALSE
Type of STP's and Controllers currently installed - Check one box
| Fixed Speed turbines |  | Variable Frequency STP
OR
STP Upgrade recommended if site is using 3/4HP Fixed
Check Box if site has 3/4 HP Fixed speed and wants higher flow rates
Select Option
| Number of Gasoline STP's to upgrade | 3
Dispenser Information and Equipment
Dispensers conversion type - retrofit or new dispensers
Installing New Dispensers?
Retrofit Existing Dispensers?
If upgrading existing dispensers, use check boxes to add additional labor charges:
Will vapor piping need to be replaced from outlet casting to flowmeter? (CHECK TO ADD EXTRA LABOR)-->
Are there clearance issues under dispenser? Eg. 4 Product meters, Bravo box, etc (ADD EXTRA LABOR) -->
VST - Platinum/Standard Hanging Hardware Hose Length selection
| Number of Dispensers to retrofit/install | 4 | Hose Retractor Clamps Needed?
| Number of Fueling Points | 8
| Curb Hose Length |  | Permitting/Testing
Whip Hose Length
Breakaway Choice
TLS-350R on Site
INCON on site - Software Upgrade required
Upgrade STP's
Standard Fixed Speed
TLS-350 Dim String present
Retractor Clamps needed
Installing New Dispensers -->
Retrofit EXISTING dispensers
VFC On Site
Software Upgrade Needed
Do New Dispensers include VFM?
Include Permit costs
Include Startup Testing
Existing Dispensers have Balance Outlet Castings?
Add Breakaway Bumpers
Add a breakaway reconnection kit (5 reconnects)
Or

## Price List
|  | User Defined Price List | [8 empty] | Boolean
|  | Make sure values are entered in all price boxes -Will be highlighted yellow if missing price | [6 empty] | TLS-350 Programming Labor/ TLS-350 on site |  | TRUE
|  | Veeder-Root Parts and Labor Cost | Price |  |  | Flow Meter cost & quantity is |  |  |  | TLS-350 Software Upgrade | TRUE
|  | TLS-350 Programming Labor |  |  |  | 0 if Pre-installed in Dispenser |  |  | Retrofit and New Disp check |  | FALSE
|  | TLS-350 Software Upgrade - Current Version |  |  | Quantity | Cost |  |  |  | Incon Software Upgrade | FALSE
|  | Veeder-Root Balance Flow Meter (1 kit) |  | X | 4 | 0 |  |  |  | New Dipensers Include VFM | FALSE
[10 empty] | Include Permitting Charge | TRUE
|  | INCON Parts and Labor Cost | Price | [6 empty] | Include Startup Testing | TRUE
|  | INCON Software - Balance Upgrade Package (ver 1.3.0) | [6 empty] | TLS-350 or Software selected |  | TRUE
|  | INCON Software Upgrade Labor | [6 empty] | Both INCON and TLS-350 selected |  | FALSE
[10 empty] | Balance Outlet Castings present | TRUE
|  | Curb Hose Pricing | Price |  |  | Curb Choice | Price |  | Quantity | Total
1 | 6' Standard | VST Standard Balance Curb 6' VDV-EVR-072 |  |  |  | 7 | 0 | x | 8 | 0
2 | 7.5' Standard | VST Standard Balance Curb 7.5' VDV-EVR-090
3 | 8' Standard | VST Standard Balance Curb 8' VDV-EVR-096
4 | 8.5' Standard | VST Standard Balance Curb 8.5' VDV-EVR-102
5 | 6' Platinum | VST Platinum Balance Curb 6' VDVP-EVR-072
6 | 7.5' Platinum | VST Platinum Balance Curb 7.5' VDVP-EVR-090
7 | 8' Platinum | VST Platinum Balance Curb 8' VDVP-EVR-096
8 | 8.5' Platinum | VST Platinum Balance Curb 8.5' VDVP-EVR-102
|  | Whip Hose Pricing |  |  |  | Whip Choice | Price |  | Quantity | Total
1 | 12" Standard | VST Standard Balance Whip VSTA-EVR-012 |  |  |  | 4 | 0 | x | 8 | 0
2 | 4' Standard | VST Standard Balance Whip VSTA-EVR-048
3 | 5' Standard | VST Standard Balance Whip VSTA-EVR-060 |  |  |  | Bumpers needed
4 | 12" Platinum | VST Platinum Balance Whip VSTAP-EVR-012 |  |  |  | FALSE | 0 | x | 1.6
5 | 4' Platinum | VST Platinum Balance Whip VSTAP-EVR-048 |  |  |  | Reconnect kit |  | Rounded up | 2 | 0
6 | 5' Platinum | VST Platinum Balance Whip VSTAP-EVR-060 |  |  |  | FALSE | 0 | x | 1 | 0
|  | Nozzle |  |  |  | Nozzle Quantity | Price |  | Quantity | Total
|  | VST EVR Balance Nozzle G2 VST-EVR-NBBK-2 |  |  |  | VST EVR Nozzle | 0 | x | 8 | 0
Breakaways
1 | Re-connectable (NEW) | VST Reconnectable breakaway VSTA-EVR-SBKA |  |  |  | Breakaway Type |  | Breakaway Quantity |  | Total
[6 empty] | 1 | 0 | x | 8 | 0
[6 empty] | Retractors needed | Price |  | Quantity | Total
|  | Retractor Clamp of choice |  |  |  | TRUE | 0 | x | 8 | 0
|  | CNI or EZ-Flow Retractor Clamp | [7 empty] | Total
|  | Additional parts and accessories | [6 empty] | Total Hanging Hardware Cost pre tax - | 0
Breakaway Bumpers VST-BBSG-100
|  | Breakaway Reconnection kit (5 pack) VST-BRK-100 |  |  |  |  | Choice |  | Quantity
[6 empty] | STP Labor | 0 | X | 3 | 0
|  | STP / VFC Controller Cost per Tank |  |  |  | STP Upgrade | 3 | X | 0 | 0
| 1 | NONE |  |  |  | TRUE | <-- STP Upgrade YES
| 2 | Red Jacket 1 1/2 HP STP |  |  |  | 4 | <--STP Select Pull Down Menu
| 3 | Red Jacket 2 HP STP
| 4 | FE Petro Variable Frequency Controller and STP
| 5 | FE Petro 1 1/2 HP Fixed STP | [7 empty] | Upgrade Cost Per Dispenser
| 6 | FE Petro 2 HP Fixed Speed STP | [6 empty] | Dispenser replacement labor per dispenser | 0
|  | Dispenser Labor Charge per Dispenser | Price | Flag |  |  |  |  | Basic Retrofit | 0
|  | Labor for dispenser replacement - per dispenser |  | TRUE | New Disp |  |  |  | Extra Charge Full Vapor Piping swap | 0
|  | Retrofit Dispensers - Basic Labor - VST ZERO |  | FALSE | Retrofit 1 |  |  |  | Extra Charge - Clearance | 0
|  | Full Vapor re-pipe - Extra labor - VST ZERO |  | FALSE | Retrofit 2 |  |  |  | Labor per dispenser for Vapor piping | 0
|  | Clearance/additional install issues - VST ZERO |  | FALSE | Retrofit 3 |  |  |  | Number of Dispensers | 4
|  |  |  | FALSE | Retrofit check |  |  |  | Dispenser upgrade Labor Total | 0
|  | Additional Costs | Price
|  | Startup Testing Charge - If applicable | [6 empty] | New Dispenser Installation All Dispensers | 0
Pipe and Fittings for dispenser re-pipe
|  | Permitting Fees - If applicable | [6 empty] | Piping Cost per dispenser | 0
|  | STP Upgrade Labor per tank | [6 empty] | Piping cost All Dispensers | 0
[6 empty] | Error Check Blank | 60
|  | Tax and Equipment markup | Percentage |  |  | Error True | 0
|  | Equipment markup percentage |  |  |  | Error False | 0
|  | Sales Tax |  |  |  | Error sum | 60
[6 empty] | ERROR RESULT | ERROR

## Quote Form
VST ZERO Quote Form
ERROR - CHECK PRICE LIST FOR MISSING VALUE
Equipment Cost
TLS-350 - Software Upgrade | 0
INCON Software Upgrade | 0
TLS-350 - Flow Meter cost | 0
Hanging Hardware and accessories | 0
Dispenser piping - parts | 0
New STP Equipment Cost | 0
Equipment Markup | 0
Tax on Equipment | 0
Total Equipment Cost | 0
VST ZERO Labor Costs
TLS-350 Programming - Labor | 0
INCON Software Upgrade Labor | 0
Dispenser Re-Piping Labor | 0
Dispenser / STP Upgrade Labor
New Dispenser Installation Labor | 0
STP Upgrade Labor | 0
Permits and Testing
Startup Testing | 0
Permit Cost | 0
Total | 0

## Equipment Order Form
VST ZERO Conversion Equipment Order Form
Site | 0
Address | 0
City,State, ZIP | 0
Phone# | 0
Hanging Hardware | Part Number | Quantity
Nozzles | VST EVR Balance Nozzle G2 VST-EVR-NBBK-2 | 8
Curb Hose | VST Platinum Balance Curb 8' VDVP-EVR-096 | 8
Breakaways | VST Reconnectable breakaway VSTA-EVR-SBKA | 8
Whip Hose | VST Platinum Balance Whip VSTAP-EVR-012 | 8
Retractor Clamps | CNI or EZ-Flow Retractor Clamp | 8
TLS-350 Equipment | Part Number | Quantity
Software | TLS-350 Software Upgrade - Current Version | 1
Flowmeters | Veeder-Root Balance Flow Meter (1 kit) | 4
INCON Equipment | Part Number | Quantity
Software Package | NONE | 0
STP Equipment | Part Number | Quantity
STP | FE Petro Variable Frequency Controller and STP | 3
Accessories | Part Number | Quantity
Breakaway bumpers | VST-BBSG-100 | 0
Breakaway repair kit | VST-BRK-100 | 0

## Survey Instructions
VST ZERO Site Survey - Instructions
Price List | Fill out all pricing for parts and labor FIRST. This will allow you to quickly create bids for different configurations. Parts lists and quotes will be automatically generated from your own pricing.
Select tank monitor for VST ZERO installation |  | Example of typical baseline labor charge for dispenser retrofit
Veeder-Root TLS-350 | Select the type of monitoring system installed on site. If site has a TLS-350 with ISD, Check box TLS-350 on Site. The TLS-350 console will need to have settings changed, and a possible software upgrade and cold start. The Assist Veeder-Root Flow-meters will need to be replaced with the Balance Veeder-Root flow-meters.
INCON VRM | If the site has INCON VRM installed, check box INCON on site - Software Upgrade required. The INCON will require the VRMEO204 software upgrade. The INCON flow meters will NOT need to be replaced during the VST ZERO conversion. You can set the software price and software installation charge on the Price Sheet.
DIM String | Check and record the DIM Init string that is configured in the TLS-350. If a DIM string is present, check the box TLS-350 DIM String present and record on the VST ZERO Survey form. Some dispenser controllers require a "G" to set the DIM for gallons instead of liters. Most sites with an Allied/Andi box or COMMANDER will require the DIM string.
Submersible Turbine Pump information - Upgrade options |  | Example of completed ZERO dispenser retrofit.
Type of STP's and Controller installed | Note if the site has fixed speed or Variable Frequency controllers. Balance sites will require more STP pressure than an Assist system to achieve a good flow rate. A VFC STP and controller or a 2HP Fixed speed are good options during a conversion to maximize flow rate. Check the Upgrade STP option, and select a STP upgrade option to add to the quote. You can set a per tank labor charge for a STP upgrade on the Price Sheet. STP equipment will be automatically added to the Quote and the Parts Order sheet.
Dispenser Information - New Dispensers or Retrofit
Install new dispensers | Check the box Install new dispensers if the site is getting new dispensers with pre-installed balance piping. Enter your per dispenser labor charge for dispenser installation on the Price Sheet to automatically add it to your bid.
Included Flow Meters | Check the box Do new dispensers include VFM? box if the dispensers include a flowmeter in the cost and are already installed in the dispenser. Dispenser installation labor will be automatically added to quote
Retrofit existing dispensers | Check the box Retrofit EXISTING Dispensers if you are removing the Healy vacuum pump from an assist dispenser and restoring vapor piping to 1" balance piping. Many sites will only require minimal labor to restore piping. This is the option to select the baseline labor charge. Enter your per dispenser labor charge to the Price Sheet for removal of vacuum pump and vapor re-pipe to automatically add it to your bid.
Additional Labor - Vapor piping | If the dispenser has 5/8 copper piping ran from the outlet casting to the Healy VP-1000, Click Will Vapor piping need to be replaced from outlet casting to flow-meter? Selecting this option add additional labor to the quote. Set your additional labor charge on the Price Sheet.
Additional Labor - Clearance | If the dispenser pan is shallow, has 8 product meters (87,89,91,DSL, etc.), or has something else that will require more labor, click on Are there clearance issues under dispenser? This will add additional labor charges as well. Set your additional labor on the Price Sheet
Hanging Hardware Choices | Enter number of gas dispensers and fueling points. If hanging hardware supplied by customer, enter 0 for number of fueling points so it will not be added to the bid. Make sure to include number of dispensers to properly calculate labor cost.
Hose Lengths | Select Hose configuration from pull-down menus.
Equipment lists will be automatically generated
Hose Retractors | Click Retractor Clamps needed if site will be using retractors. Clamps will be added to bid. You can enter retractor clamp of choice on the Price Sheet.
Permitting/Testing | Click the Include Permitting Check box to include the permitting fees from the Price Sheet on the quote.
Click the Include Startup testing check box to include the startup testing charge from the Price Sheet on the quote.

## Warranty # Form
|  | Warranty Form |  | Vapor Systems Technologies Inc 650 Pleasant Valley Rd Springboro, OH 45066 (937)704-9333
GDF Name | 0 |  | Date Installed | 2017-09-09
Address | 0 |  | Contractor Name: | 0
City, ZIP | 0 |  | Address: | 0
Phone | 0 |  | City, State: | 0
Tech | Joe |  | Phone | 0
FP # | Nozzle | Curb | Breakaway | Whip | Flow Meter
FP1
FP2
FP3
FP4
FP5
FP6
FP7
FP8
FP9
FP10
FP11
FP12
FP13
FP14
FP15
FP16
FP17
FP18
FP19
FP20
FP21
FP22
FP23
FP24
FP25
FP26
FP27
FP28
FP29
FP30
FP31
FP32
FP33
FP34
FP35
FP36